## Assumptions
Swanbank Sovereign DC — Financial Model
Pilot case. Yellow cells are editable inputs; all other tabs reference them. Directional, pre-final-terms.
Capacity & build
IT load (MW) | 2 | MW | Pilot hall
Rack density (kW/rack) | 80 | kW
GPU power (W) | 700 | W | H100-class
PUE (facility overhead) | 1.25 | x | Closed-loop liquid — efficient
GPUs per rack |  | #
Total racks |  | #
Total GPUs |  | #
Revenue
Rental price ($/GPU-hr) | 2.35 | $ | 1-yr contract, 2026 mkt
Utilisation (%) | 85% | % | Blended sold capacity
Revenue hours / yr | 8760 | hr
Operating cost
Energy price ($/MWh) | 65 | $ | AEMO QLD Q1'26 benchmark
Powerlink C&A ($/yr) | 2500000 | $ | Connection & access, N-1
Land lease ($/yr) | 1500000 | $ | 99 ha — PLACEHOLDER, awaiting rate
Staff & ops ($/yr) | 2500000 | $ | SRE, security, maintenance
Bandwidth & misc ($/yr) | 750000 | $
Capital
GPU capex ($/GPU) | 28000 | $ | H100-class server-allocated
Fit-out $/kW (power+cooling+civil) | 9000 | $ | Liquid-cooled hall, $/IT-kW
Depreciation life (yrs) | 4 | yr | GPU economic life

## P&L
Annual P&L — pilot (steady-state, Yr 1 stabilised)
All cells reference Assumptions. Edit inputs there; this recalculates.
Line | Annual ($) | Note
Installed GPUs |  | count
REVENUE
Gross rental revenue |  | GPUs x $/hr x util x hrs
OPERATING COST
Energy |  | MW x PUE x $/MWh x hrs
Powerlink C&A
Land lease |  | placeholder
Staff & ops
Bandwidth & misc
Total opex
EBITDA |  | Revenue - opex
EBITDA margin
CAPITAL
GPU capex |  | one-time
Fit-out capex |  | one-time
Total capex
RETURNS
Simple payback (yrs) |  | capex / EBITDA
Pre-tax ROI (Yr1 EBITDA / capex)
Annual depreciation |  | straight-line
Approx. pre-tax profit (post-dep) |  | EBITDA - dep

## Build-out
Build-out staircase — revenue scales with IT MW
Holds per-MW economics from the pilot constant; scales load. Directional.
Stage | IT MW | GPUs | Gross revenue $/yr | EBITDA $/yr | Total capex $
Pilot | 2
Phase 1 | 20
Build-out | 100
Toward envelope | 300
Note: fixed opex scaled linearly per-MW for simplicity — real build-out enjoys operating leverage (Powerlink C&A and land are largely fixed), so larger stages have structurally higher margins than shown.

## Sensitivity
Sensitivity — EBITDA vs rental price x utilisation (pilot)
Rows = $/GPU-hr · Cols = utilisation. Recomputes pilot EBITDA from Assumptions.
$/GPU-hr \ util | 65% | 75% | 85% | 95%
1.8
2.1
2.35
2.8
3.3
Green = base case (≈$2.35/hr, 85% util). Each cell is annual pilot EBITDA before capex/depreciation.

## Use of Funds
Use of funds — what the pilot raise buys
Pilot ~2 MW. Capex lines reference Assumptions; working capital + contingency are raise-sizing inputs.
Use | Amount ($) | % of raise | Basis
GPU hardware |  |  | H100-class servers, networking, storage
Power + cooling fit-out |  |  | 275kV→33kV→LV, rectifiers, liquid-cooling loop, civil
Grid connection (yr-1 C&A) |  |  | Powerlink Connection & Access, first year
Working capital (6 mo opex) |  |  | Runway to revenue stabilisation
Team + setup (pre-revenue) | 1500000 |  | Cofounder + core ops hires, legal, entity, insurance
Subtotal
Contingency (10%) |  |  | Buffer on capex + setup
TOTAL RAISE (pilot) |  | 100%
Note: GPUs are ~80% of the raise — a financeable, resaleable asset (not sunk). A GPU-leasing / vendor-financing structure can materially cut the equity cheque; this sheet shows the all-equity worst case.

## README
How to use this model
1. Edit only the yellow cells on the Assumptions tab. Every other tab references them.
2. P&L = stabilised Year-1 pilot (~2 MW). Build-out scales the same per-MW economics.
3. Land lease ($1.5m/yr) is a PLACEHOLDER pending the real $/ha/yr rate — flagged on Assumptions.
4. Energy ($65/MWh) = AEMO QLD Q1 2026 wholesale benchmark; a behind-the-meter PPA should beat it.
5. Rental revenue ($2.35/GPU-hr) = 2026 1-yr H100 contract market; on-demand prices higher.
6. Gateway demand-aggregation upside (wholesale-vs-retail spread on routed frontier-lab traffic) is
NOT modelled here — it is incremental margin on top of the owned-substrate P&L.
7. Excludes: financing structure, tax, GST, ramp curve, contract take-or-pay. Directional only.
8. Figures are pre-final-terms and not investment advice.